13/01/2022

TORQ PACKAGING SOLUTION

34,VISHALA ESTATE(WEST), S.P RING ROAD,

OPP ODHAV TO NIKOL ROAD,NIKOL,

AHMEDABAD-382350

+91 80000 32128

GSTIN 24ARDPD2565K1ZX

info@torqpackagingsolution.com

www.torqpackagingsolution.com

QUOTATION

Aditya Impex

101 A Cosmos pride,

Opp Gaondevi ground

Chendani Road, Thane west-400602

GSTIN:- 27AAFHA5072F1ZJ

Kind Attn: Mr. Vijay

We thank you for your inquiry and pleased to quote as below, subject to terms & conditions mentioned below here under unless otherwise modified by us in writing:

| S.No. | Model | Quantity | List Price | Sub Total | Total Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | FS12 | 6 | Rs 15,500.00 | Rs 93,000.00 | Rs 93,000.00 |

| Capcity group | Medium |
| --- | --- |
| Nominal size | ½ inch |
| Flow range(LPH) | 50 to 1200 |
| Accuracy | 0.5% (typically 0.03% reading) |
| Temperature range | 20 to 85 C |
| Maximum pressure | 25 bar |
| Output | Hall effect NPN/PNP pulse |
| Pulse/liter | 860 |
| Optional output | 4-20mA Modbus communication |
| Noice generation | 75 db |
| Protection class | IP66/67 |

## Grand Total :	Rs 93,000.00 /=

# Standard Terms & Condition

| Price Basis | Ex-our Works |
| --- | --- |
| Packing & Handling | 2.5% Extra |
| Taxes | GST@18% |
| Freight | At actual to your account |
| Payment | 40% Advance & Balance against Proforma Invoice |
| Delivery | 1-2 Weeks from the date of receipt of technical data & commercially clear P.O. with advance payment |
| Inspection | At Our Works |
| Installation & commissioning | Typically not required, If required Site Engineer is available @ Rs 5000.00, supervision only per man day excluding To & Fro charges, lodging and boarding at site |
| Warranty | 12 Months against manufacturing defect |
| Validity | 30 days |

## Account Details

BANK DETAILS-KOTAK MAHINDRA BANK

NAME-TORQ PACKAGING SOLUTION

A/C NO- 8000032128

BRANCH-KATHWADA,AHMEDABAD

IFSC CODE-KKBK0002606

Contact for this Offer

Ronak Dave

Mobile No: +91 80000 32128

Email : info@torqpackagingsolution.com